## P&L (hidden)
Item | Cost | CPU Rebate | GPU Rebate | Cost - Rebate | QTY | Total Cost | Price | Margin | Total Price | Comments
XE9785L MI355x w/3y PS1 CSP | 285251.93 | 4860 | 8600 | 271791.93 | 1664 | 452261771.52 | 267000 | -1.795% | 444288000
Previously Approved P&L

## GOAL Export (hidden)
Quote # | Config Description | Total Units | Total Selling Price | Total Config Revenue | Current Margin % | Cost
US-3000193615450/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 634 | 32099.31 | 20350962.54 | 20% | 25679.448
US-3000193615450/1 | PowerSwitch Z9432F-ON, 32 x 400GbE QSFP56-DD ports, IO to PSU air, 2x AC PSU | 2 | 16908.8562 | 33817.7125 | 20% | 13527.085
US-3000193615450/1 | PowerSwitch S3248T-ON, 48x1G, 4x10G SFP+, 2x100G QSFP28, 1xAC PSU, IO/PSU | 79 | 2967.4469 | 234428.3031 | 20% | 2373.9575
US-3000193615450/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 208 | 35899.86 | 7467170.88 | 20% | 28719.888
US-3000193613873/1 | PowerSwitch Z9864F, 64x800GbE OSFP112, SONiC, (no Fans/PSU) | 840 | 35644.0975 | 29941041.9 | 20% | 28515.278
US-3000193613873/1 | PowerSwitch Z9432F-ON, 32 x 400GbE QSFP56-DD ports, IO to PSU air, 2x AC PSU | 2 | 17248.3937 | 34496.7875 | 20% | 13798.715
US-3000193613873/1 | PowerSwitch S3248T-ON, 48x1G, 4x10G SFP+, 2x100G QSFP28, 1xAC PSU, IO/PSU | 79 | 3727.3969 | 294464.3531 | 20% | 2981.9175
US-3000193613766/1 | PowerEdge XE9785L | 1664 | 267000 | 444288000 | -6.836% | 285251.93

## Version
Customer (SFDC #) |  |  | (PMO input)
File Name
Solution Description |  |  | POD5 - IREN -VR72 50MW SweetWater Design
|  | GOAL ID | (Sales input)
AI Design Team
PMO Team
AE/TSR Team
RCI/CDG Team
Services Team
| Version | Date | CTO Pod Owner | PMO Owner | Description of Changes
| 1 | 2026-03-30 | POD5 | Cristina | Initial BOM
Partner Design Deviation Approval (if needed)
|  | Date | Partner Approver | Dell Approver | Description of Approval

## L11 BOM Ntwk
E-W Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Leaf | 576 | 0 | 576 | 920-9N62F-00LI-GC0 | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39
E-W Spine | 288 | 0 | 288 | 920-9N62F-00LI-GC0 | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39
E-W Core | 0 | 0 | 0
N-S Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Leaf (TAN) | 144 | 0 | 144 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
N-S Spine | 72 | 0 | 72 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
Storage Leaf | 0 | 0 | 0 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
storage Spine | 0 | 0 | 0 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
Control Leaf | 36 | 0 | 36 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
Control Spine | 4 | 0 | 4 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
N-S Core | 0 | 0 | 0 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
CMX Leaf | 72 | 0 | 72 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
IREN Control Leaf | 0 | 0 | 0 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
OOB Switches
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR NW | 180 | 0 | 180 | 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled | Does not include ToR for storage/GPU racks. / optics/cables
OOB Aggregator | 8 | 0 | 8 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | 32 × QSFP‑DD 400 GbE ports
Core Switches | 2 | 0 | 2 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | 32 × QSFP‑DD 400 GbE ports
OOB BorderLeaf | 0 | 0 | 0 | IREN WILL PROVIDE
| 0 | 0 | 0
Racks, PDUs and CDUs
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
GPU Racks | 252 | 0 | 252 | [GPU RACK] VR72 | VR72 GPU Racks
T1 E-W NtwkRack | 72 | 0 | 72 | 9148 | IR9000/750mmx1200mm/48U
T2 E-W NtwkRack | 40 | 0 | 40 | 9148 | IR9000/750mmx1200mm/48U | 48U x750mm x1200mm
T1/T2 N-S NtwkRack | 36 | 0 | 36 | 9048 | IR9000/750mmx1200mm/48U | Air IR9048 w/2x 33 kW power shelves; w/o manifold
T2 N-S NtwkRack | 0 | 0 | 0 |  | IR9000/750mmx1200mm/48U
T3 N-S NtwkRack | 0 | 0 | 0 | 9048 | IR9000/750mmx1200mm/48U | Air IR9048 w/2x 33 kW power shelves; w/o manifold
T1/T2 Storage Leaf/Spine | 0 | 0 | 0 |  | IR9000/750mmx1200mm/48U
T1/T2 Control Leaf / Spine | 0 | 0 | 0 |  | IR9000/750mmx1200mm/48U
IREN Control Leaf/racks | 0 | 0 | 0 |  | IR9000/750mmx1200mm/48U
OOB/AGGR/Storage/Control Racks | 0 | 0 | 0 |  | IR9000/750mmx1200mm/48U
PDU 3Ph, 415V, 60A | 0 | 0 | 0 |  | Andrew to Confirm
RDHx CL20 | 0 | 0 | 0
Patch Panels / Shuffle Componets Side Car
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
Cassette /SU for Leaf Rack GPU to Leaf [Hosted in Leaf rack] | 9072 | 0 | 9072 | 4x4 shuffle unit = 432 x 18 [4x4] + 144 x 9[4x4]
Cassette /SU for Leaf Rack to Spine Rack [Hosted in Spine Rack] | 3888 | 0 | 3888 | 4x4 shuffle unit = 360 x 18 [4x4] + 200 x 9[4x4]
FiberPanel | 800 | 0 | 800
Shuffle Racks | 0 | 0 | 0
Shuffle Boxes (Passive & Openframe) [4x4 Shufflers] | 0 | 0 | 0
Side Car | 0 | 0 | 0
Jumper Cable from Fiber Panel to Leaf switch | 36288 |  | 36288
Jumper Cable from Fiber Panel to Spine switch | 36288 |  | 36288
East-West NIC-LEAF : Transceiver/Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W NIC-Leaf Link NIC Xcvr | 18144 | 0 | 18144 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only
E-W NIC-Leaf Link NIC Xcvr Cable | 36288 | 0 | 36288 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
E-W NIC-Leaf Link Leaf Xcvr | 18432 | 0 | 18144 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only
East-West LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
E-W Leaf-Spine Link Leaf Xcvr | 18432 | 0 | 18144 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | 0
E-W Leaf-Spine Link Leaf Xcvr Cable | 36864 | 0 | 36864 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
E-W Leaf-Spine Link Spine Xcvr | 18432 | 0 | 18144 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | Optics: Spine to Leaf
North-South NIC-LEAF : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S NIC-Leaf Link NIC Xcvr | 9072 | 0 | 9072 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
N-S NIC-Leaf Link Leaf Xcvr | 5184 | 0 | 5184 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S NIC-Leaf Link Leaf Xcvr Cable | 10368 | 0 | 10368 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
| 0 | 0 | 0
North-South LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Leaf-Spine Link Leaf Xcvr | 1152 | 0 | 1152 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Leaf-Spine Link Leaf Xcvr Cable | 2304 | 0 | 2304 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Leaf-Spine Link Spine Xcvr | 1152 | 0 | 1152 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South CMX NIC-LEAF : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S CMX NIC-Leaf Link CMX NIC Xcvr | 4608 | 0 | 4608 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
N-S CMX NIC-Leaf Link Leaf Xcvr | 2304 | 0 | 2304 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S CMX NIC-Leaf Link Leaf Xcvr Cable | 4608 | 0 | 4608 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
North-South CMX LEAF-SPINE : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S CMX Leaf-Spine Link Leaf Xcvr | 2304 | 0 | 2304 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S CMX Leaf-Spine Link Leaf Xcvr Cable | 4608 | 0 | 4608 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S CMX Leaf-Spine Link Spine Xcvr | 2304 | 0 | 2304 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South SPINE-Core : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Spine-Core Link Spine Xcvr | 864 | 0 | 864 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Spine-Core Link Spine Cable | 1728 | 0 | 1728 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Spine-Core Link Core Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
North-South Storage POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Storage Leaf-Spine Link Leaf Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Leaf-Spine Link Leaf Xcvr Cable | 0 | 0 | 0 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Storage Leaf-Spine Link Spine Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Leaf-Compute Link Leaf Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Leaf-Compute Link Cable | 0 | 0 | 0 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Storage Leaf-Compute Link Xcvr | 0 | 0 | 0 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
N-S Storage Spine-Core Link Spine Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Storage Spine-Core Link Spine Xcvr Cable | 0 | 0 | 0 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Storage Spine-Core Link Spine Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
|  | 0 | 0
North-South Control POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Control Leaf-Spine Link Leaf Xcvr | 72 | 0 | 72 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Control Leaf-Spine Link Leaf Xcvr Cable | 144 | 0 | 144 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Control Leaf-Spine Link Spine Xcvr | 72 | 0 | 72 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
N-S Control Leaf-Compute Leaf Xcvr | 2052 | 0 | 2052 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Control Leaf-Compute Leaf Cable | 2052 | 0 | 2052 | MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long
N-S Control Leaf-Compute Xcvr | 4104 | 0 | 4104 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | BF3140 - connect to Z9864F at 200G
N-S Control Spine-Core Link Spine Xcvr | 64 |  | 64 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Control Spine-Core Link Spine Xcvr Cable | 128 |  | 128 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Control Spine-Core Link Spine Xcvr | 64 |  | 64 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB Cluster : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR Cable to end nodes | 7920 | 0 | 7920 | Cat 6 | Cat 6
OOB ToR-AGG Link ToR Xcvr | 420 | 0 | 420 | 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1
OOB ToR-AGG Link ToR Xcvr Cable | 420 | 0 | 420 | A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
OOB ToR-AGG Link AGGR Cable | 420 | 0 | 420 | 470-ABGH | Switch Xcvr to LC Patch Panel MPO-4xLC short leg patch cable, Other end is LC to OOB Leafs | only 5M is available
4x100G Patch Panel | 24 | 0 | 24 | Corning 4x100 Breakout PP | Final Count will come from Actual BOM
OOB ToR-AGG Link AGGR Xcvr | 256 | 0 | 128 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB Core-Border leaf Link OOB Core Xcvr | 8 | 0 | 8 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB Core-Border Link Border Xcvr Cable | 8 | 0 | 8 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
OOB Core-Border Link Border Xcvr | 8 | 0 | 8 | IREN WILL PROVIDE | 400G-QSFP-DR4
OOB AGGR-OOB Core link AGGR Xcvr | 36 | 0 | 36 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
OOB AGGR-OOB Core Link AGGR Xcvr Cable | 72 | 0 | 36 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
OOB AGG-OOB Core Link Core Xcvr | 36 | 0 | 36 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
Border Leaf : Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
Border Leaf to Control Spine - Border leaf tranceiver | 8 | 0 | 8 | IREN WILL PROVIDE | 400G-QSFP-DD
Border Leaf to Control Spine- Border leaf - Converged core Cable | 8 | 0 | 8 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
Border Leaf to Control Spine- Border Converged core tranceiver | 8 | 0 | 8 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
North-South IREN Control POD: Transceiver and Fiber/Cable
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
N-S Control Leaf-Core Link Leaf Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Leaf to Spine
N-S Control Leaf-Core Link Leaf Xcvr Cable | 0 | 0 | 0 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | Cables: Leaf to Spine
N-S Control Leaf-Core Link Spine Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | Optics: Spine to Leaf
N-S Control Leaf-Compute Leaf Xcvr | 0 | 0 | 0 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
N-S Control Leaf-Compute Leaf Cable | 0 | 0 | 0 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
N-S Control Leaf-Compute Xcvr | 0 | 0 | 0 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | BF3140 - connect to Z9864F at 200G
GPU : Front End
Item | Count | Spares | Sub-Total | Model/PN | Description | Notes
OOB ToR NW | 504 | 0 | 504 | [GPU RACK] 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled [TOR SWITCHES ARE COUNTED IN GPU BOM]
OOB ToR-AGG Link ToR Xcvr | 1008 | 0 | 1008 | [GPU RACK] 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | SN2201 Uplink Transceiver OOB aggregation
OOB ToR Cable to end nodes | 22176 | 0 | 22176 | [GPU RACK] Cat 6 | Cat 6
OOB ToR-AGG Link ToR Xcvr Cable | 1008 | 0 | 1008 | [GPU RACK] A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
Row End Range for Column D (MUST Be Set Correctly) | Row End Range for Column E (MUST Be Set Correctly) |  |  | Row End Range for Column F (MUST Be Set Correctly)
D154 | E154 |  |  | F154
* READ: For the table below to work, be sure check that the "Row End Range" cell include the last row # of the table above. Also, make sure each line item in the source table above has an associated "Model/PN" values. Also, do not change the heading "Model/PN" without updating the formula. The Summary Table columns "Item Model/PN" and "Description" will auto adjust (grow/shrink) and auto sort itself alphabetically. Count will only auto calaculate but you must drag it down to grow. Since the Summary Table has dynamic columns, if you manully enter info into columns DPN, SKU and Notes they will not automatically move along with the dynamic columns.
Summary Table
| DPN | SKU | Count | Item Model/PN | Description | Notes
|  |  | 36 | 9048 | IR9000/750mmx1200mm/48U
|  |  | 112 | 9148 | IR9000/750mmx1200mm/48U
|  |  | 1008 | [GPU RACK] 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1
|  |  | 504 | [GPU RACK] 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled [TOR SWITCHES ARE COUNTED IN GPU BOM]
|  |  | 1008 | [GPU RACK] A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
|  |  | 22176 | [GPU RACK] Cat 6 | Cat 6
|  |  | 252 | [GPU RACK] VR72 | VR72 GPU Racks
|  |  | 420 | 470-ABGH | Switch Xcvr to LC Patch Panel MPO-4xLC short leg patch cable, Other end is LC to OOB Leafs
|  |  | 3888 | 4x4 shuffle unit = 360 x 18 [4x4] + 200 x 9[4x4]
|  |  | 9072 | 4x4 shuffle unit = 432 x 18 [4x4] + 144 x 9[4x4]
|  |  | 180 | 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled
|  |  | 338 | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS
|  |  | 864 | 920-9N62F-00LI-GC0 | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D39
|  |  | 420 | 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1
|  |  | 72576 | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only
|  |  | 420 | A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine
|  |  | 7920 | Cat 6 | Cat 6
|  |  | 24 | Corning 4x100 Breakout PP | Final Count will come from Actual BOM
|  |  | 16 | IREN WILL PROVIDE
|  |  | 97092 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M
|  |  | 2052 | MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long
|  |  | 17784 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
|  |  | 17804 | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]
|  |  | 0 |  | [ Adjacent Item Model/PN cell is Empty ]

## Rack-Elevations
[16 empty] | 18 |  |  |  | 0 |  |  |  | 18
Total
[11 empty] | 32 spines, 4 racks x 8-plane |  | 4 spines, 1 racks x 8-plane
| 159 |  | 18 |  | 18 |  | 18 |  | 18 |  | 32 |  | 8 |  |  | 6 |  |  |  | 12 |  |  |  | 18 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  | 1
|  |  | 750mm |  | 750mm |  | 750mm |  | 750mm |  | 750mm |  | 750mm |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  |  | 750mm |  |  | 750mm
|  | RU | T1 E-W Rail1-2.A Plane1-4 | RU | T1 E-W Rail1-2.B Plane5-8 | RU | T1 E-W Rail3-4.A Plane1-4 | RU | T1 E-W Rail3-4.B Plane5-8 | RU | T2 E-W | RU | T2 E-W |  | RU | T1/T2 N-S |  |  | RU | T1/T2 N-S |  |  | RU | T1/T2 N-S |  |  | RU | T3 N-S |  |  | RU | T3 N-S |  |  | RU | T3 N-S |  |  | RU | T3 N-S |  |  | RU | N-S CTRL Spine+STORAGE LEAF SPINE |  | RU | IREN CONTROL POD
|  | 48 |  | 48 |  | 48 |  | 48 |  | 48 |  | 48 |  | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 4x12 vertical manager | 48 |  | 4x12 vertical manager | 48 |  | 4x12 vertical manager
|  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  |  | 47 |  |  |  | 47 |  |  |  | 47 |  |  |  | 47 | OOB ToR #1 |  |  | 47 |  |  |  | 47 |  |  |  | 47 |  |  |  | 47 | OOB ToR #1 |  | 47 | OOB ToR #1
|  | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 | Storage BE OOB ToR #1 |  | 46
|  | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 | Storage BE OOB ToR #2 |  | 45 | CTRL Leaf #1
|  | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 |  |  | 44 | OOB ToR #1 |  |  | 44 | OOB ToR #1 |  |  | 44 | OOB ToR #2 |  |  | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 | Storage BE OOB ToR #3 |  | 44
|  | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 |  |  | 43 | IREN OOB ToR #3 |  |  | 43 | IREN OOB ToR #3 |  |  | 43 | CSP OOB ToR #4 |  |  | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 | Storage BE OOB ToR #4 |  | 43
|  | 42 | 1RU POWER SHELF | 42 | 1RU POWER SHELF | 42 | 1RU POWER SHELF | 42 | 1RU POWER SHELF | 42 | 1RU POWER SHELF | 42 | 1RU POWER SHELF |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  | 42 | CTRL Leaf #2
|  | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF |  | 41 |  |  |  | 41 |  |  |  | 41 | O-OOB # 5 |  |  | 41 |  |  |  | 41 |  |  |  | 41 |  |  |  | 41 |  |  |  | 41 | Backend STORAGE leaf #2 |  | 41
|  | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 | OOB AGG # 1 |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  | 40
|  | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  | 39
|  | 38 | E-W Leaf #2.A SN6600-LD Plane4 | 38 | E-W Leaf #2.B SN6600-LD Plane8 | 38 | E-W Leaf #4.A SN6600-LD Plane4 | 38 | E-W Leaf #4.B SN6600-LD Plane8 | 38 | E-W Spine #8 SN6600-LD | 38 |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 | Backend STORAGE leaf #1 |  | 38
|  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  |  | 37 | OOB AGG # 1 |  |  | 37 |  |  |  | 37 |  |  |  | 37 | 4x100G Breakout PP |  |  | 37 | OOB CORE # 1 |  |  | 37 |  |  |  | 37 |  |  |  | 37 |  |  | 37
|  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  | 36
|  | 35 | E-W Leaf #2.A SN6600-LD Plane3 | 35 | E-W Leaf #2.B SN6600-LD Plane7 | 35 | E-W Leaf #4.A SN6600-LD Plane3 | 35 | E-W Leaf #4.B SN6600-LD Plane7 | 35 | E-W Spine #7 SN6600-LD | 35 |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 | STORAGE SPINE #4 |  | 35
|  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  |  | 34 | 4x100G Breakout PP |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  | 34
|  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  |  | 33 |  |  |  | 33 |  |  |  | 33 |  |  |  | 33 | CTRL SPINE #1 |  |  | 33 | CTRL SPINE #1 |  |  | 33 |  |  |  | 33 |  |  |  | 33 |  |  | 33
|  | 32 | E-W Leaf #2.A SN6600-LD Plane2 | 32 | E-W Leaf #2.B SN6600-LD Plane6 | 32 | E-W Leaf #4.A SN6600-LD Plane2 | 32 | E-W Leaf #4.B SN6600-LD Plane6 | 32 | E-W Spine #6 SN6600-LD | 32 |  |  | 32 | N-S Spine #3 |  |  | 32 | N-S Spine #3 |  |  | 32 | N-S Spine #4 |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 | STORAGE SPINE #3 |  | 32
|  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  | 31
|  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  | 30
|  | 29 | E-W Leaf #2.A SN6600-LD Plane1 | 29 | E-W Leaf #2.B SN6600-LD Plane5 | 29 | E-W Leaf #4.A SN6600-LD Plane1 | 29 | E-W Leaf #4.B SN6600-LD Plane5 | 29 | E-W Spine #5 SN6600-LD | 29 | 9 4x4Shuffle (3blade) |  | 29 | N-S Spine #1 |  |  | 29 | N-S Spine #1 |  |  | 29 | N-S Spine #2 |  |  | 29 | N-S Core #6(Group 1) |  |  | 29 | N-S Core #6(Group 2) |  |  | 29 | N-S Core #6(Group 3) |  |  | 29 | N-S Core #6(Group 4) |  |  | 29 | STORAGE SPINE #2 |  | 29
|  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 | 18 4x4Shuffle (3blade) |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  | 28
|  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 | 18 4x4Shuffle (3blade) |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  | 27
|  | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 18 4x4Shuffle (3blade) |  | 26 | CTRL Leaf #1 |  |  | 26 | CTRL Leaf #1 |  |  | 26 | CTRL Leaf # 2 |  |  | 26 | N-S Core #5(Group 1) |  |  | 26 | N-S Core #5(Group 2) |  |  | 26 | N-S Core #5(Group 3) |  |  | 26 | N-S Core #5(Group 4) |  |  | 26 | STORAGE SPINE #1 |  | 26
|  | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  | 25
|  | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  | 24
|  | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 |  |  | 23 | N-S Leaf #7 |  |  | 23 | N-S Leaf #7 |  |  | 23 | N-S Leaf #8 |  |  | 23 | N-S Core #4(Group 1) |  |  | 23 | N-S Core #4(Group 2) |  |  | 23 | N-S Core #4(Group 3) |  |  | 23 | N-S Core #4(Group 4) |  |  | 23 | STORAGE LEAF #4 |  | 23
|  | 22 | E-W Leaf #1.A SN6600-LD Plane4 | 22 | E-W Leaf #1.B SN6600-LD Plane8 | 22 | E-W Leaf #3.A SN6600-LD Plane4 | 22 | E-W Leaf #3.B SN6600-LD Plane8 | 22 | E-W Spine #4 SN6600-LD | 22 | E-W Spine #4 SN6600-LD |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  | 22
|  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  | 21
|  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  |  | 20 | N-S Leaf #5 |  |  | 20 | N-S Leaf #5 |  |  | 20 | N-S Leaf #6 |  |  | 20 | N-S Core #3(Group 1) |  |  | 20 | N-S Core #3(Group 2) |  |  | 20 | N-S Core #3(Group 3) |  |  | 20 | N-S Core #3(Group 4) |  |  | 20 | STORAGE LEAF #3 |  | 20 | Compute M9825 # 1
|  | 19 | E-W Leaf #1.A SN6600-LD Plane3 | 19 | E-W Leaf #1.B SN6600-LD Plane7 | 19 | E-W Leaf #3.A SN6600-LD Plane3 | 19 | E-W Leaf #3.B SN6600-LD Plane7 | 19 | E-W Spine #3 SN6600-LD | 19 | E-W Spine #3 SN6600-LD |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  | 19 | Compute M9825 # 2
|  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  | 18 | Compute M9825 # 3
|  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  |  | 17 | N-S Leaf #3 |  |  | 17 | N-S Leaf #3 |  |  | 17 | N-S Leaf #4 |  |  | 17 | N-S Core #2(Group 1) |  |  | 17 | N-S Core #2(Group 2) |  |  | 17 | N-S Core #2(Group 3) |  |  | 17 | N-S Core #2(Group 4) |  |  | 17 | STORAGE Leaf #2 |  | 17 | Compute M9825 # 4
|  | 16 | E-W Leaf #1.A SN6600-LD Plane2 | 16 | E-W Leaf #1.B SN6600-LD Plane6 | 16 | E-W Leaf #3.A SN6600-LD Plane2 | 16 | E-W Leaf #3.B SN6600-LD Plane6 | 16 | E-W Spine #2 SN6600-LD | 16 | E-W Spine #2 SN6600-LD |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  | 16 | Compute M9825 # 5
|  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  | 15 | Compute M9825 # 6
|  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  |  | 14 | N-S Leaf #1 |  |  | 14 | N-S Leaf #1 |  |  | 14 | N-S Leaf #2 |  |  | 14 | N-S Core #1(Group 1) |  |  | 14 | N-S Core #1(Group 2) |  |  | 14 | N-S Core #1(Group 3) |  |  | 14 | N-S Core #1(Group 4) |  |  | 14 | STORAGE Leaf #1 |  | 14 | Compute M9825 # 7
|  | 13 | E-W Leaf #1.A SN6600-LD Plane1 | 13 | E-W Leaf #1.B SN6600-LD Plane5 | 13 | E-W Leaf #3.A SN6600-LD Plane1 | 13 | E-W Leaf #3.B SN6600-LD Plane5 | 13 | E-W Spine #1 SN6600-LD | 13 | E-W Spine #1 SN6600-LD |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  | 13 | Compute M9825 # 8
|  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  | 12 | Compute M9825 # 9
|  | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan |  | 11 | CMX Leaf #3 |  |  | 11 | CMX Leaf #3 |  |  | 11 | CMX Leaf #4 |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  | 11 | Compute M9825 # 10
|  | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  |  | 10 |  |  | 10 | Compute M9825 # 11
|  | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF | 9 | 1RU POWER SHELF |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  | 9 | Compute M9825 # 12
|  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  |  | 8 | CMX Leaf #1 |  |  | 8 | CMX Leaf #1 |  |  | 8 | CMX Leaf #2 |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  | 8 | Compute M9825 # 13
|  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  | 7 | Compute M9825 # 14
|  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  | 6 | Compute M9825 # 15
|  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  | 5 | Compute M9825 # 16
|  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  | 4
|  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  | 3
|  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  | 2
|  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1
[15 empty] | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  |  | Blank |  |  | Blank
Andrew Elevations |  | 48 |  | 48 |  | 48 |  | 48 |  | 48 |  | 48 |  |  | 48 |  |  |  | 48 | [7 empty] | 48 |  |  |  | 48 |  |  |  | 48 |  |  |  | 48 |  |  |  | 48 |  |  | 48 | OOB ToR #1
|  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  | 47 |  |  | 47 |  |  |  | 47 | [7 empty] | 47 | OOB ToR #1 |  |  | 47 |  |  |  | 47 |  |  |  | 47 |  |  |  | 47 | OOB ToR #1 |  | 47
|  | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 | 9 4x4Shuffle (3blade) | 46 |  |  | 46 |  |  |  | 46 | [7 empty] | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 |  |  |  | 46 | Storage BE OOB ToR #1 |  | 46
|  | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 | 18 4x4Shuffle (3blade) | 45 |  |  | 45 | OOB AGG #1 |  |  | 45 | O-OOB # 5 | [6 empty] | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 |  |  |  | 45 | Storage BE OOB ToR #2 |  | 45
|  | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 | 18 4x4Shuffle (3blade) | 44 |  |  | 44 | OOB ToR #1 |  |  | 44 | OOB ToR #2 | [6 empty] | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 |  |  |  | 44 | Storage BE OOB ToR #3 |  | 44
|  | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 | 18 4x4Shuffle (3blade) | 43 |  |  | 43 | IREN OOB ToR #3 |  |  | 43 | CSP OOB ToR #4 | [6 empty] | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 |  |  |  | 43 | Storage BE OOB ToR #4 |  | 43
|  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  | 42 |  |  | 42 |  |  |  | 42 | [7 empty] | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  |  | 42 |  |  | 42 | 1RU POWER SHELF
|  | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF | 41 | 1RU POWER SHELF |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF | [6 empty] | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  |  | 41 | 1RU POWER SHELF |  | 41 | 1RU POWER SHELF
|  | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC | 40 | Dell IRC |  | 40 |  |  |  | 40 | [7 empty] | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  |  | 40 |  |  | 40 | CTRL Leaf #1
|  | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace | 39 | Cross-Brace |  | 39 | Cross-Brace |  |  | 39 | Cross-Brace | [6 empty] | 39 | OOB AGG # 1 |  |  | 39 |  |  |  | 39 |  |  |  | 39 |  |  |  | 39 | Backend STORAGE leaf #2 |  | 39
|  | 38 | E-W Leaf #2.A SN6600-LD Plane4 | 38 | E-W Leaf #2.B SN6600-LD Plane8 | 38 | E-W Leaf #4.A SN6600-LD Plane4 | 38 | E-W Leaf #4.B SN6600-LD Plane8 | 38 | E-W Spine #8 SN6600-LD | 38 |  |  | 38 |  |  |  | 38 | [7 empty] | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  |  | 38 |  |  | 38
|  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  | 37 |  |  | 37 | OOB AGG # 1 |  |  | 37 | [7 empty] | 37 |  |  |  | 37 | OOB CORE # 1 |  |  | 37 |  |  |  | 37 |  |  |  | 37 |  |  | 37 | CTRL Leaf #2
|  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  | 36 |  |  | 36 |  |  |  | 36 | [7 empty] | 36 | 4x100G Breakout PP |  |  | 36 |  |  |  | 36 |  |  |  | 36 |  |  |  | 36 | Backend STORAGE leaf #1 |  | 36
|  | 35 | E-W Leaf #2.A SN6600-LD Plane3 | 35 | E-W Leaf #2.B SN6600-LD Plane7 | 35 | E-W Leaf #4.A SN6600-LD Plane3 | 35 | E-W Leaf #4.B SN6600-LD Plane7 | 35 | E-W Spine #7 SN6600-LD | 35 |  |  | 35 |  |  |  | 35 | [7 empty] | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  |  | 35 |  |  | 35
|  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  | 34 |  |  | 34 | 4x100G Breakout PP |  |  | 34 | [7 empty] | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  |  | 34 |  |  | 34 | Compute M9825 # 16
|  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  | 33 |  |  | 33 |  |  |  | 33 | [7 empty] | 33 | CTRL SPINE #1 |  |  | 33 | CTRL SPINE #1 |  |  | 33 |  |  |  | 33 |  |  |  | 33 | STORAGE SPINE #4 |  | 33 | Compute M9825 # 15
|  | 32 | E-W Leaf #2.A SN6600-LD Plane2 | 32 | E-W Leaf #2.B SN6600-LD Plane6 | 32 | E-W Leaf #4.A SN6600-LD Plane2 | 32 | E-W Leaf #4.B SN6600-LD Plane6 | 32 | E-W Spine #6 SN6600-LD | 32 |  |  | 32 |  |  |  | 32 | [7 empty] | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  |  | 32 |  |  | 32
|  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  | 31 |  |  | 31 | N-S Spine #3 |  |  | 31 | N-S Spine #4 | [6 empty] | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  |  | 31 |  |  | 31 | Compute M9825 # 14
|  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  | 30 |  |  | 30 |  |  |  | 30 | [7 empty] | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 |  |  |  | 30 | STORAGE SPINE #3 |  | 30 | Compute M9825 # 13
|  | 29 | E-W Leaf #2.A SN6600-LD Plane1 | 29 | E-W Leaf #2.B SN6600-LD Plane5 | 29 | E-W Leaf #4.A SN6600-LD Plane1 | 29 | E-W Leaf #4.B SN6600-LD Plane5 | 29 | E-W Spine #5 SN6600-LD | 29 | 9 4x4Shuffle (3blade) |  | 29 |  |  |  | 29 | [7 empty] | 29 | N-S Core #6(Group 1) |  |  | 29 | N-S Core #6(Group 2) |  |  | 29 | N-S Core #6(Group 3) |  |  | 29 | N-S Core #6(Group 4) |  |  | 29 |  |  | 29
|  | 28 |  | 28 |  | 28 |  | 28 |  | 28 |  | 28 | 18 4x4Shuffle (3blade) |  | 28 | N-S Spine #1 |  |  | 28 | N-S Spine #2 | [6 empty] | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  |  | 28 |  |  | 28 | Compute M9825 # 12
|  | 27 |  | 27 |  | 27 |  | 27 |  | 27 |  | 27 | 18 4x4Shuffle (3blade) |  | 27 |  |  |  | 27 | [7 empty] | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 |  |  |  | 27 | STORAGE SPINE #2 |  | 27 | Compute M9825 # 11
|  | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 9 4x4Shuffle (3blade) | 26 | 18 4x4Shuffle (3blade) |  | 26 |  |  |  | 26 | [7 empty] | 26 | N-S Core #5(Group 1) |  |  | 26 | N-S Core #5(Group 2) |  |  | 26 | N-S Core #5(Group 3) |  |  | 26 | N-S Core #5(Group 4) |  |  | 26 |  |  | 26
|  | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 | 18 4x4Shuffle (3blade) | 25 |  |  | 25 | CTRL Leaf #1 |  |  | 25 | CTRL Leaf # 2 | [6 empty] | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  |  | 25 |  |  | 25 | Compute M9825 # 10
|  | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 | 18 4x4Shuffle (3blade) | 24 |  |  | 24 |  |  |  | 24 | [7 empty] | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 |  |  |  | 24 | STORAGE SPINE #1 |  | 24 | Compute M9825 # 9
|  | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 | 18 4x4Shuffle (3blade) | 23 |  |  | 23 |  |  |  | 23 | [7 empty] | 23 | N-S Core #4(Group 1) |  |  | 23 | N-S Core #4(Group 2) |  |  | 23 | N-S Core #4(Group 3) |  |  | 23 | N-S Core #4(Group 4) |  |  | 23 |  |  | 23
|  | 22 | E-W Leaf #1.A SN6600-LD Plane4 | 22 | E-W Leaf #1.B SN6600-LD Plane8 | 22 | E-W Leaf #3.A SN6600-LD Plane4 | 22 | E-W Leaf #3.B SN6600-LD Plane8 | 22 | E-W Spine #4 SN6600-LD | 22 | E-W Spine #4 SN6600-LD |  | 22 | N-S Leaf #7 |  |  | 22 | N-S Leaf #8 | [6 empty] | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  |  | 22 |  |  | 22 | Compute M9825 # 8
|  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  | 21 |  |  | 21 |  |  |  | 21 | [7 empty] | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 |  |  |  | 21 | STORAGE LEAF #4 |  | 21 | Compute M9825 # 7
|  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  | 20 |  |  | 20 |  |  |  | 20 | [7 empty] | 20 | N-S Core #3(Group 1) |  |  | 20 | N-S Core #3(Group 2) |  |  | 20 | N-S Core #3(Group 3) |  |  | 20 | N-S Core #3(Group 4) |  |  | 20 |  |  | 20
|  | 19 | E-W Leaf #1.A SN6600-LD Plane3 | 19 | E-W Leaf #1.B SN6600-LD Plane7 | 19 | E-W Leaf #3.A SN6600-LD Plane3 | 19 | E-W Leaf #3.B SN6600-LD Plane7 | 19 | E-W Spine #3 SN6600-LD | 19 | E-W Spine #3 SN6600-LD |  | 19 | N-S Leaf #5 |  |  | 19 | N-S Leaf #6 | [6 empty] | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  |  | 19 |  |  | 19 | Compute M9825 # 6
|  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  | 18 |  |  | 18 |  |  |  | 18 | [7 empty] | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 |  |  |  | 18 | STORAGE LEAF #3 |  | 18 | Compute M9825 # 5
|  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  | 17 |  |  | 17 |  |  |  | 17 | [7 empty] | 17 | N-S Core #2(Group 1) |  |  | 17 | N-S Core #2(Group 2) |  |  | 17 | N-S Core #2(Group 3) |  |  | 17 | N-S Core #2(Group 4) |  |  | 17 |  |  | 17
|  | 16 | E-W Leaf #1.A SN6600-LD Plane2 | 16 | E-W Leaf #1.B SN6600-LD Plane6 | 16 | E-W Leaf #3.A SN6600-LD Plane2 | 16 | E-W Leaf #3.B SN6600-LD Plane6 | 16 | E-W Spine #2 SN6600-LD | 16 | E-W Spine #2 SN6600-LD |  | 16 | N-S Leaf #3 |  |  | 16 | N-S Leaf #4 | [6 empty] | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  |  | 16 |  |  | 16 | Compute M9825 # 4
|  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  |  | 15 |  |  |  | 15 | [7 empty] | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 |  |  |  | 15 | STORAGE Leaf #2 |  | 15 | Compute M9825 # 3
|  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  | 14 |  |  | 14 |  |  |  | 14 | [7 empty] | 14 | N-S Core #1(Group 1) |  |  | 14 | N-S Core #1(Group 2) |  |  | 14 | N-S Core #1(Group 3) |  |  | 14 | N-S Core #1(Group 4) |  |  | 14 |  |  | 14
|  | 13 | E-W Leaf #1.A SN6600-LD Plane1 | 13 | E-W Leaf #1.B SN6600-LD Plane5 | 13 | E-W Leaf #3.A SN6600-LD Plane1 | 13 | E-W Leaf #3.B SN6600-LD Plane5 | 13 | E-W Spine #1 SN6600-LD | 13 | E-W Spine #1 SN6600-LD |  | 13 | N-S Leaf #1 |  |  | 13 | N-S Leaf #2 | [6 empty] | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  |  | 13 |  |  | 13 | Compute M9825 # 2
|  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  | 12 |  |  | 12 |  |  |  | 12 | [7 empty] | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 |  |  |  | 12 | STORAGE Leaf #1 |  | 12 | Compute M9825 # 1
|  | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan | 11 | Cross-Brace & Drip Pan |  | 11 | Cross-Brace |  |  | 11 | Cross-Brace | [6 empty] | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  |  | 11 |  |  | 11
|  | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF | 10 | 1RU POWER SHELF |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF | [6 empty] | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  |  | 10 | 1RU POWER SHELF |  | 10 | 1RU POWER SHELF
|  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  | 9 |  |  | 9 | CMX Leaf #3 |  |  | 9 | CMX Leaf #4 | [6 empty] | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  |  | 9 |  |  | 9 | 1RU POWER SHELF
|  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  | 8 |  |  | 8 |  |  |  | 8 | [7 empty] | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  |  | 8 |  |  | 8
|  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  | 7 |  |  | 7 |  |  |  | 7 | [7 empty] | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  |  | 7 |  |  | 7
|  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  | 6 |  |  | 6 | CMX Leaf #1 |  |  | 6 | CMX Leaf #2 | [6 empty] | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  |  | 6 |  |  | 6
|  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  | 5 |  |  | 5 |  |  |  | 5 | [7 empty] | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  |  | 5 |  |  | 5
|  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  | 4 |  |  | 4 |  |  |  | 4 | [7 empty] | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  |  | 4 |  |  | 4
|  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  | 3 |  |  | 3 |  |  |  | 3 | [7 empty] | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  |  | 3 |  |  | 3
|  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  |  | 2 |  |  |  | 2 | [7 empty] | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  |  | 2 |  |  | 2
|  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 1 |  |  |  | 1 | [7 empty] | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  |  | 1 |  |  | 1

## Rack BOM
48U Rack
DLC Rack Brakdown |  |  |  | 47544.91 |  | 60342.6621
IR 9000 racks components - based on 48RU rack - Dell MGX 144 rack |  | Dell cost (per unit) | TTL QTY | Ext Cost
Bus bar | 44OU/48RU DLC Bus Bar for Dell 5000A+ (landed) | 4941 | 1 | 4941
Drip tray | Drip tray | 50 | 1 | 50
Rack | Dell IR9000 48U Rack for XE9812 VR200 NVL144, 750mm x 1200mm (material only)(include 2 side panels, bolt down brackets aka. Stiffener) | 3995 | 1 | 3995
Manifolds | Cooler Master 48RU Manifolds, 48RU Rack, UQOD08 | 11408 | 1 | 11408
Filter | SFN Filter Kit, 2", Includes Filter, Valve and Clamp (in row CDU only) | 150 | 0 | 0
Shock Pallet | Shock Pallet with Strap Down Kit, APC - 440OU | 1234 | 1 | 1234
Rail kit | ODM Mechanical Component Compute Tray Slide Rail Pair for MGX Rack V1.2 4 for PSUs + 2 for ToRs + 1 for IRC + 8 for SN6600LD | 83.16 | 15 | 1247.4
Blanking panels | ODM Mechanical Component 1RU Blank Panel with DGX ID | 12.88 | 20 | 257.6
Brush filler | Brush Filler Shield for Dell 9812 Rack | 47.7 | 4 | 190.8
Warranty | Basic Next Business Day 36 Months | 936 | 1 | 936
Shipping & logistic | Placeholder - Unknowns | 2000 | 1 | 2000
| Total per rack cost |  |  | 26259.8 | 12% | 29840.6818
Power Shelves (Per rack standard qty: 2) - cost from Gaines 2.0 powershelves
| IR9048 Mounting Rail Kit for PowerShelf | 118.37 | 2 | 236.74
| Dell Server XE9712 GB300 Powershelf, LiteOn | 901.36 | 2 | 1802.72
| Power Supply Kit for Single Power Shelf, 5.5KW, LiteOn | 3521.62 | 2 | 7043.24
| Basic Next Business Day 36 Months | 147.67 | 2 | 295.34
| Total per rack power shelf |  |  | 9378.04 | 12% | 10656.8636
IRC (per rack qty: 1)
NRE++ | IRC Preliminary NRE, Ops Adder, SW, Firmware, and Warranty placeholder | 0 | 1 | 0
Appliance | IRC Appliance, Power Satellite, LCD, leak detect rope (Mechanical Cost) | 1723.08 | 1 | 1723.08
Valve control | Valve control cable, Valve + Hose Kit for IR9000 (For in Row only) | 9959.99 | 1 | 9959.99
| PS1 CSP Warranty | 224 | 1 | 224
| Total IRC per rack |  |  | 11907.07 | 40% | 19845.1167 |  |  | 13630.15
In Rack CDU (per rack qty:1)
in -rack CDU | Dell PowerCool RCDU R4R19010A | 35680.19 | 0 | 0
| PowerCool RCDU Rail kit for IR9000 | 569.5 | 0 | 0
| Dell PowerCool RCDU Facility to CDU Hose,1.5in Sanitary, 6ft | 1893.03 | 0 | 0
| IR9000 CDU to Manifold Hose Kit, 1.5in, for Dell PowerCool RCDU | 1213.32 | 0 | 0
| Basic Next Business Day 36 Months | 1759 | 0 | 0
| ProSupport One Data Center for CSP AI Plus Support Bundle with Designated Support and Onsite Engineer NBD Onsite Initial, 36 Month(s) | 1055.39 | 0 | 0
| Custom Rack Integration Dell SOW Required | 0 | 0 | 0
| CDU Preventative Maintenance Service, 36 Month(s) | 6737.47 | 0 | 0
|  |  |  | 0 | 40% | 0
Air Cooled Rack Breakdown |  |  |  | 10882 |  | 12365.9091
IR 5000 racks components
Reference Quote | Config Description | Unit Cost | Units | Total Cost
US-3000201328266/1 | APC NetShelter SX Server Rack Gen 2, 48U, 2258H x 750W x 1200D mm, | 3642 | 1 | 3642
US-3000201328266/1 | NetShelter SX 750mm Wide x 1200mm Deep Networking Roof | 450 | 1 | 450
US-3000201328266/1 | PDU11450ME - Power Distribution Unit - Rack-Mountable - Input Voltage: 415 V 3 phase - 34.6KW - I | 3395 | 2 | 6790
IR 9048 AC based racks components
Option ID | SKU | Description | Qty | Unit List | Unit Cost | Ext Cost | Unit Selling | LT
G57VN1Q | 379-BFVJ | [670] PowerEdge Platform - Dell Server XE9712 | 1
GNMYWP8 | 195-BBHZ | [1] Base - IR9048 Mounting Rail Kit for PowerShelf | 1
GNMYWP8 | 210-BSYH | [1] Base - Dell Server XE9712 GB300 Powershelf, LiteOn | 1
G9DXHT7 | 450-BGFT | [1620] Power Supply - Power Supply Kit for Single Power Shelf, 5.5KW, LiteOn | 2
GGNIC5E | 709-BJKM | [29] Service - Basic Next Business Day 36 MonthsVI | 1
GKRMQ6C | 199-CGMN | [30] Extended Service - ProSupport One for Data Center for CSP AI Support Bundle with Designated Support and Onsite Engineer NBD Onsite Initial, 36 Month(s)VP | 1
G1QD3ST | 883-BBLF | [200735] Infrastructure Deployment Services - Custom Rack Integration Dell SOW RequiredVI | 1
GG31X7R | 450-BDYC | [1628] Power Whips - Power Whip, Straight, 3.5M | 0
GJ65PIN | 450-BDYB | [1628] Power Whips - Power Whip, Straight, 5M | 1
[5 empty] | Cost per power shelf | 0

## PnL SN6600-LD-0831
| Networking | Model/PN | Description | Units
Type | Networking E-W
L11-DLC | SN6600-LD - DLC, OSFP Pluggable, DC BusBar | 920-9N62F-00LI-GC0 | NVIDIA Spectrum-6 based 800GbE Ethernet switch with Cumulus Linux Authentication, 64 OSFP, 1 QSFP112, 48VDC Busbar, 8-Cores CPU, Secure-boot, Liquid-Cooling, Rail-Kit.D35 | 864
L11-DLC | MMS4B10-XM-RHS | 980-9IAJ0-00XM00 | NVIDIA twin port transceiver, 2xDR4, 1600Gbps, OSFP, 2xMPO(APC), 1310nm SMF, up to 500m, RHS, TRO, Ethernet Only | 73440
Transceviers
Networking N-S
L11-AC | SN5610 - 2U 64xOSFP112, C2P (I/P) Airflow |  |  | 0
L11-AC | SN5600D - 2U 64xOSFP112, DC BusBar, C2P (I/P) Airflow | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | 328
L11-AC | MMS1X00-NS400 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top | 17784
L11-AC | MMS4X00-NM-T | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | 17588
L11-AC | MMS1V00-WM
OOB Network
| SN2201 AC C2P - MSN2201-CB2RC | 920-9N110-01R1-0C0 | NVDA SN2201 48x1GBaseT, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN2201-CB2RC]
L11-AC | SN2201 DC Busbar - MSN2201-CSMRC | 920-9N110-01R1-NC0 (DPN: J2MV9) | SN2201 48x1G + 4x100G, DC Busbar Air Cooled | 92
L11-AC | SN4700 AC C2P - MSN4700-WS2RC | 920-9N301-00RB-0C0 | NVDA SN4700 400GbE, 32xQSFPDD, 1U, 2AC PSU, C2P (I/P) Airflow, w/ Cumulus[MSN4700-WS2RC]
L11-AC | SN5600D - 2U 64xOSFP112, DC BusBar, C2P (I/P) Airflow | 920-9N42F-00RI-KC0 | NVDA SN5600D,OSFP,DCBB,64P,C2P(I/P),CMLS | 10
L11-AC | SN5610 - 2U 64xOSFP112, C2P (I/P) Airflow
L11-AC | MMS1V70-CM | 980-9I042- 00C000 | Mellanox transceiver, 100GbE, QSFP28, LC-LC, 1310nm, DR1 | 184
L11-AC | MMS1V00-WM
L11-AC | MMS4X00-NS400 | MMS1X00-NS400 | NVIDIA single port transceiver, 400Gbps, NDR, QSFP112, MPO, 1310nm SMF, up to 500m, flat top
L11-AC | MMS4X00-NM-T | MMS4X00-NM-T | NVIDIA TWIN PORT TRANSCEIVER, 800GBPS,2X400GbE, OSFP, 2XMPO, 1310NM SMF, UP TO 500M, FINNED | 344
Networking Rack Infrastructure
L11-DLC | DLC Networking Racks - 48U | Network rack (DLC) | IR9148/750mmx1200mm/48U with 2x PowerShelves and IRC (no in-rack CDU) | 112
L11-DLC | 2U SHUFFLE PANEL | FiberPanel | 2U Panel | 512
L11-DLC | Fibre Shuffle Cassettes - E-W Leaf rack | 4x4 Shuffle Cassette - Commscope 760263036 | Cassette /SU for Leaf Rack GPU to Leaf [Hosted in Leaf rack] - - MPO-8 4x4 Shuffle Module, 4x8f MPO/APC pinned rear to 4X8f MPO/APC pinned front | 9072 | Fibre Shuffle Cassettes - E-W Leaf rack
L11-DLC | Fibre Shuffle Cassettes - E-W Spine Rack | 4x4 Shuffle Cassette - Commscope 760263036 | Cassette /SU for Leaf Rack to Spine Rack [Hosted in Spine Rack] - MPO-8 4x4 Shuffle Module, 4x8f MPO/APC pinned rear to 4X8f MPO/APC pinned front | 9216 | Fibre Shuffle Cassettes - E-W Spine Rack
L11-DLC check with Maunish | Rack cable jumper |  | MPO12/APC-MMC/APC SMF Jumper - 3 to 5m | 72576
L11-AC | Air-Cooled Networking Racks - Clusters 48U | Network rack (AC) | IR5000 - Air Cooled Racks with 2x PDUs | 0
L11-AC check with RIT | 4x100G Patch Panel | Corning 4x100 Breakout PP | One Patch Panel to rack where SN4700 is installed since 4x100G cable length max size is 5m | 0
L11-AC | Air-Cooled Networking Racks - Clusters 48U | Network rack (AC) | IR7000 - Air Cooled Racks with 2x PDUs
L11-AC check with RIT | 4x100G Patch Panel | Corning 4x100 Breakout PP | One Patch Panel to rack where SN4700 is installed since 4x100G cable length max size is 5m
L11-AC | Air-Cooled Networking Racks - Clusters 48U | Network rack (AC) | Air IR9048 w/2x 33 kW power shelves; w/o manifold | 45
L11-AC check with RIT | 4x100G Patch Panel | Corning 4x100 Breakout PP | One Patch Panel to rack where Switch is installed since 4x100G cable length max size is 5m | 24
Total
| Description |  |  | Units
Networking E-W
Networking N-S
OOB Network
Networking Rack Infrastructure
Total Networking PnL
Rack Integration - (Compute and Networking Racks)
Field Deployment - (Compute and Networking Racks)
Not Included in the Quote
P2P | MPO12/APC-MMC/APC SMF Jumper - 3m |  |  | 72576
P2P | MPO12/APC SMF - 50m
P2P | MPO12/APC-MMC/APC SMF - 50m
P2P | MPO12/APC-4LC SMF - 10m
P2P | CAT6 Thin |  |  | 7920
P2P | CAT6 Thin 3M
P2P | CAT6 Thin 10M
P2P | Aircool AC Sidecar (VCM)
P2P | DLC DC Sidecar (VCM)
P2P | MFP7E30-N050 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | 97048
P2P | MFP7E40-N050 | MFP7E40-N050 | MPO12 APC to 2xMPO12 APC, 50 m long | 2052
P2P | 470-ABGH | 470-ABGH | Switch Xcvr to LC Patch Panel MPO-4xLC short leg patch cable, Other end is LC to OOB Leafs | 420
P2P | A7204378 | A7204378 | Switch Xcvr to LC Patch Panel LC-LC short leg patch cable, Other end is MPO to 4xLC to OOB Spine | 420
P2P | MFP7E30-N050 | MFP7E30-N050 | MPO-12/APC to MPO-12/APC cable, 1310nm SMF OS2, 100m max, 50 M | 52

## DW2000P_1 (hidden)
Solution Id: 19885916.1
Solution Name: Together AI DW2000P
Solution Category: General
Solution List Price: $3,174,981.04
Solution Estimated Price: $687,045.84
Solution Info: Solution Created 1/2/2025 by carlos_wilson@dell.com Version Last Modified 1/2/2025 by carlos_wilson@dell.com
| Group Name | Group ID | Product Name | Product Qty | Unit Price (List) | Extended Price (List) | Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | Parent Order Code
| Group 1 | 19885916.1.1 | PowerEdge R6615 - [PE_R6615_16729] | 8 | 326247.63 | 2609981.04
[7 empty] | PowerEdge R6615 | G2CJBV9 | PowerEdge R6615 Server | 4496.13 | [210-BFUO] | 1
[7 empty] | FRONT STORAGE | GAOR9VT | Chassis with EDSFF drives | 0 | [379-BFGX] | 1
[7 empty] | BACKPLANE | G3NBWKT | E3.s Backplane | 0 | [379-BEYL] | 1
[7 empty] | REAR STORAGE | GOXF0L2 | No Rear Storage | 0 | [379-BDTE] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GHTJIO2 | Chassis with up to 14 E3.S NVMe Drives, Smart Flow | 1080 | [321-BKBT] | 1
[7 empty] | Processor | GR5TMW8 | AMD EPYC 9454P 2.75GHz, 48C/96T, 256M Cache (290W) DDR5-4800 | 10645 | [338-CGXM] | 1
[7 empty] | Processor Thermal Configuration | G0BWHZV | High Performance Heatsink, V2 | 157.4 | [412-BBGB] | 1
[7 empty] | Memory Configuration Type | G6VDIHE | Performance Optimized | 0 | [370-AHLL] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G106RND | 32GB RDIMM, 5600MT/s, Dual Rank | 25824 | [370-BBRY] | 12
[7 empty] | RAID Configuration | GF5RC29 | C30, No RAID for NVME chassis | 0 | [780-BCDO] | 1
[7 empty] | RAID/Internal Storage Controllers | GLTBAZ3 | No Controller | 0 | [405-AACD] | 1
[7 empty] | Hard Drives | GZ4G6T3 | No Hard Drive | 0 | [400-ABHL] | 1
[7 empty] | Hard Drives (PCIe SSD/Flex Bay) | GL9OCAQ | 7.68TB NVMe Read Intensive AG Drive E3s Gen5 with carrier | 253785.98 | [400-BOMO] | 14
[7 empty] | BIOS and Advanced System Configuration Settings | GJO594B | Performance BIOS Setting | 0 | [384-BBBL] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Fans | GT5CEUN | 4 Very High Performance Fan for 1 CPU | 299 | [384-BDHS] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | G3LUBT7 | Riser Config 2, 3 x16 LP (2x Gen5) | 1147.6 | [330-BCBU] | 1
[7 empty] | Motherboard | G9M23QV | PowerEdge R6615 Motherboard V2 | 0 | [329-BJSB] | 1
[7 empty] | OCP 3.0 Network Adapters | G0V3GIZ | Nvidia ConnectX-6 Lx Dual Port 10/25GbE SFP28, No Crypto, OCP NIC 3.0 | 709 | [540-BDJL] | 1
[7 empty] | Additional Network Cards | GY8XSA9 | Broadcom 5720 Dual Port 1GbE LOM | 139 | [540-BDKD] | 1
[7 empty] | Additional Network Cards | GYR7UXM | Nvidia ConnectX-7 Single Port NDR VPI/400GbE OSFP PCIe LP, No Crypto | 18938 | [540-BFHK] | 2
[7 empty] | Bezel | GFGYQ97 | Standard Bezel for E3 Chassis, R6615 | 49 | [325-BETO] | 1
[7 empty] | Boot Optimized Storage Cards | GTA30RL | BOSS-N1 controller card + with 2 M.2 960GB (RAID 1) | 4070 | [403-BCRZ], [470-AFNB] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | GDOHU23 | iDRAC,Legacy Password | 0 | [379-BCSG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GQGNYT2 | PowerEdge R6615 Shipping | 10 | [340-DCYK] | 1
[7 empty] | Shipping Material | GSHE5N8 | Shipping Material for backplane chassis | 99 | [340-DCYE] | 1
[7 empty] | Regulatory | G1QDX7H | PowerEdge R6615 CCC Marking, No CE or BIS Marking | 0 | [470-AFOU] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Service | GC42XVM | 3 Years Prosupport Next Business Day Onsite Service | 1626.01 | [886-9761], [886-9769], [886-9770], [989-3439] | 1
[7 empty] | Deployment Services | NOINSTL | No Installation | 0 | [900-9997] | 1
| Group 1 | 19885916.1.1 | WekaIO Weka XPS Tier 1 Up to 2500TB 3 Year | 480 | 1125 | 540000 |  |  |  |  | [AD159645]
| Group 1 | 19885916.1.1 | WekaIO Initial Weka Installation and Configuration Remote | 1 | 25000 | 25000 |  |  |  |  | [AD129928]
* The Solutions Configurator pricing is based on Dell's current list price and may include discounts. The discounts, if any, may be for a specific end-customer opportunity, and not applicable to any other deals. This pricing is not an official Dell quote; it is only an estimate; it does not include taxes, shipping, and other fees; and it is subject to change at any time for any reason. Pricing is Dell confidential.

## Compute_Management (hidden)
Solution Id: 19885926.1
Solution Name: Together AI Compute/Management Nodes
Solution Category: General
Solution List Price: $543,809.92
Solution Estimated Price: $125,076.26
Solution Info: Solution Created 1/2/2025 by carlos_wilson@dell.com Version Last Modified 1/2/2025 by carlos_wilson@dell.com
| Group Name | Group ID | Product Name | Product Qty | Unit Price (List) | Extended Price (List) | Module Name | Option ID | Option Name | Option List Price | SKUs | Qty | Parent Order Code
| Group 1 | 19885926.1.1 | PowerEdge R660 - UFM Node Compute | 2 | 95460.32 | 190920.64
[7 empty] | Base | GX4I5WF | PowerEdge R660 Server | 5014 | [210-BEQQ] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GI7JYC4 | 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 580 | [321-BHRW] | 1
[7 empty] | Processor | G9KQ7I0 | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB] | 1
[7 empty] | Additional Processor | GV5LOWM | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB], [379-BDCO] | 1
[7 empty] | Additional Processor Features | G68EUO7 | No HBM | 0 | [379-BFFD] | 1
[7 empty] | Processor Thermal Configuration | GLPS2T3 | Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 217.45 | [412-ABCG] | 1
[7 empty] | Memory Configuration Type | GH9QBEI | Performance Optimized | 0 | [370-AAIP] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G0FS8TA | 16GB RDIMM, 5600MT/s, Single Rank | 36576 | [370-BBRQ] | 32
[7 empty] | RAID Configuration | GJ45ICY | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 0 | [780-BCDS] | 1
[7 empty] | RAID/Internal Storage Controllers | GZH8DFJ | PERC H755 with rear load Brackets | 3349 | [405-AAZB], [750-ADRI] | 1
[7 empty] | Hard Drives | GS7WBQI | 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD | 10678.32 | [400-AXSK] | 2
[7 empty] | BIOS and Advanced System Configuration Settings | G06TYXW | Power Saving Dell Active Power Controller | 0 | [750-AABF] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Advanced System Configurations | G9IONL3 | No Energy Star | 0 | [387-BBEY] | 1
[7 empty] | Fans | GFW1SJH | 4 Very High Performance Fans | 299 | [384-BCUJ] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | GO3YG8H | Riser Config 3, Full Height, 2x16 FH Slots (Gen5) | 808.03 | [330-BBYZ] | 1
[7 empty] | Motherboard | G8E9DV5 | Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 450 | [329-BKBP] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | OCP 3.0 Network Adapters | GKD7V2B | Nvidia ConnectX-6 Dual Port 100 GbE QSFP56 Adapter, OCP 3.0 with Cable | 3224 | [540-BDYY], [540-BFDZ] | 1
[7 empty] | Additional Network Cards | GVNQ7EH | LOM Blank | 0 | [540-BDMK] | 1
[7 empty] | Additional Network Cards | G7VO5XU | Nvidia ConnectX-7 Single Port NDR200 VPI/200GbE OSFP PCIe FH, No Crypto | 8712 | [540-BFHH] | 2
[7 empty] | Bezel | G2KZ7CS | Standard Bezel | 49 | [325-BEVE], [350-BCKC] | 1
[7 empty] | Boot Optimized Storage Cards | G61XLSC | BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 2700 | [403-BCRU], [470-AFMG] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | G5HZBFJ | iDRAC Factory Generated Password for OCP cards | 0 | [379-BETG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GSE1MX3 | PowerEdge R660 Shipping | 49 | [340-DBXZ] | 1
[7 empty] | Shipping Material | GIE8RYJ | PowerEdge R660 Shipping Material, 10x2.5", 8x2.5" Smart Flow or 16xEDSFF | 99 | [340-DBYC] | 1
[7 empty] | Regulatory | GAE4XYW | PowerEdge R660 CE, CCC and BIS Marking on 2.5" Chassis | 0 | [343-BBTS], [343-BBUB] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Standard Hardware Support Service | G80I3TA | 3 Years Prosupport Next Business Day Onsite Service | 3085.01 | [887-1067], [887-1075], [887-1076], [989-3439] | 1
| Group 1 | 19885926.1.1 | PowerEdge R660 - Management Node Compute | 4 | 88222.32 | 352889.28
[7 empty] | Base | GX4I5WF | PowerEdge R660 Server | 5014 | [210-BEQQ] | 1
[7 empty] | Trusted Platform Module | GGX1VDO | Trusted Platform Module 2.0 V3 | 99 | [461-AAIG] | 1
[7 empty] | Chassis Configuration | GI7JYC4 | 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 580 | [321-BHRW] | 1
[7 empty] | Processor | G9KQ7I0 | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB] | 1
[7 empty] | Additional Processor | GV5LOWM | Intel® Xeon® Gold 6548Y+ 2.5G, 32C/64T, 20GT/s, 60M Cache, Turbo, HT (250W) DDR5-5200 | 8199 | [338-CPCB], [379-BDCO] | 1
[7 empty] | Additional Processor Features | G68EUO7 | No HBM | 0 | [379-BFFD] | 1
[7 empty] | Processor Thermal Configuration | GLPS2T3 | Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 217.45 | [412-ABCG] | 1
[7 empty] | Memory Configuration Type | GH9QBEI | Performance Optimized | 0 | [370-AAIP] | 1
[7 empty] | Memory DIMM Type and Speed | GYMX57Q | 5600MT/s RDIMMs | 0 | [370-BBRX] | 1
[7 empty] | Memory Capacity | G0FS8TA | 16GB RDIMM, 5600MT/s, Single Rank | 36576 | [370-BBRQ] | 32
[7 empty] | RAID Configuration | GJ45ICY | C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 0 | [780-BCDS] | 1
[7 empty] | RAID/Internal Storage Controllers | GZH8DFJ | PERC H755 with rear load Brackets | 3349 | [405-AAZB], [750-ADRI] | 1
[7 empty] | Hard Drives | GS7WBQI | 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD | 10678.32 | [400-AXSK] | 2
[7 empty] | BIOS and Advanced System Configuration Settings | G06TYXW | Power Saving Dell Active Power Controller | 0 | [750-AABF] | 1
[7 empty] | Advanced System Configurations | GSFTG4Y | UEFI BIOS Boot Mode with GPT Partition | 0 | [800-BBDM] | 1
[7 empty] | Advanced System Configurations | G9IONL3 | No Energy Star | 0 | [387-BBEY] | 1
[7 empty] | Fans | GFW1SJH | 4 Very High Performance Fans | 299 | [384-BCUJ] | 1
[7 empty] | Power Supply | G7XCUQM | Dual, Fully Redundant(1+1), Hot-Plug Power Supply,1100W MM(100-240Vac) Titanium | 1429 | [450-AKLF] | 1
[7 empty] | Power Cords | GJDR06K | C13 to C14, PDU Style, 12 AMP, 13 Feet (4m) Power Cord, North America | 70 | [492-BBDG] | 2
[7 empty] | PCIe Riser | GO3YG8H | Riser Config 3, Full Height, 2x16 FH Slots (Gen5) | 808.03 | [330-BBYZ] | 1
[7 empty] | Motherboard | G8E9DV5 | Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 450 | [329-BKBP] | 1
[7 empty] | Embedded Systems Management | G65AWE1 | Dell Connectivity Client - Disabled | 0 | [379-BFXT], [634-CYDF] | 1
[7 empty] | Embedded Systems Management | G9X14RE | Server Secured Component Verification | 99 | [528-COYT] | 1
[7 empty] | Embedded Systems Management | G49EVUG | iDRAC9 Datacenter 16G with OpenManage Enterprise Advanced Plus | 1288 | [528-CTID], [528-CTZH] | 1
[7 empty] | OCP 3.0 Network Adapters | GKD7V2B | Nvidia ConnectX-6 Dual Port 100 GbE QSFP56 Adapter, OCP 3.0 with Cable | 3224 | [540-BDYY], [540-BFDZ] | 1
[7 empty] | Additional Network Cards | GVNQ7EH | LOM Blank | 0 | [540-BDMK] | 1
[7 empty] | Additional Network Cards | G1NLUM4 | Intel X710-T4L Quad Port 10GbE BASE-T Adapter, PCIe Full Height | 1474 | [540-BCRP] | 1
[7 empty] | Bezel | G2KZ7CS | Standard Bezel | 49 | [325-BEVE], [350-BCKC] | 1
[7 empty] | Boot Optimized Storage Cards | G61XLSC | BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 2700 | [403-BCRU], [470-AFMG] | 1
[7 empty] | Quick Sync | GI1FEZA | No Quick Sync | 0 | [350-BBXM] | 1
[7 empty] | Password | G5HZBFJ | iDRAC Factory Generated Password for OCP cards | 0 | [379-BETG] | 1
[7 empty] | IDRAC Service Module | GX95LG2 | iDRAC Service Module (ISM), NOT Installed | 0 | [379-BCQX] | 1
[7 empty] | Group Manager | GTVA94K | iDRAC Group Manager, Disabled | 0 | [379-BCQY] | 1
[7 empty] | Operating System | G78MU35 | No Operating System | 0 | [611-BBBF] | 1
[7 empty] | OS Media Kits | GKH7AZI | No Media Required | 0 | [605-BBFN] | 1
[7 empty] | Rack Rails | GSNQZP0 | ReadyRails Sliding Rails With Cable Management Arm | 187.51 | [770-BDMT], [770-BECD] | 1
[7 empty] | System Documentation | GVRYSM7 | No Systems Documentation, No OpenManage DVD Kit | 0 | [631-AACK] | 1
[7 empty] | SHIPPING | GSE1MX3 | PowerEdge R660 Shipping | 49 | [340-DBXZ] | 1
[7 empty] | Shipping Material | GIE8RYJ | PowerEdge R660 Shipping Material, 10x2.5", 8x2.5" Smart Flow or 16xEDSFF | 99 | [340-DBYC] | 1
[7 empty] | Regulatory | GAE4XYW | PowerEdge R660 CE, CCC and BIS Marking on 2.5" Chassis | 0 | [343-BBTS], [343-BBUB] | 1
[7 empty] | ECCN | GRO1P6G | Decline Selection | 0 | [817-BBBP] | 1
[7 empty] | Standard Hardware Support Service | G80I3TA | 3 Years Prosupport Next Business Day Onsite Service | 3085.01 | [887-1067], [887-1075], [887-1076], [989-3439] | 1
* The Solutions Configurator pricing is based on Dell's current list price and may include discounts. The discounts, if any, may be for a specific end-customer opportunity, and not applicable to any other deals. This pricing is not an official Dell quote; it is only an estimate; it does not include taxes, shipping, and other fees; and it is subject to change at any time for any reason. Pricing is Dell confidential.